Certificate of Analysis

MicroMedia Trading House

support@micromediatradinghouse.com

| Name: | Nutrient Broth |
| --- | --- |
| Product code: | MM0036 |
| Lot Number: | 15190303 |
| Manufacture Date: | MAY 2015 |
| Expiry Date: | MAY 2019 |

Dehydrated Media:

| Colour: | Beige |
| --- | --- |
| Particle size: | Fine, powder |
| Solubility: | 1-2min. |

Prepared Medium:

| Directions:* |  | 13,0 g/l |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Clarity: |  | Clear, straw |  |  |  |  |
| Deposit: |  | None |  |  |  |  |
| pH:* |  | 7,4±0,2 ( cb : 7,43 at 25C ) |  |  |  |  |
| Sterilization: |  | By autoclaving at 121C for 15 minutes |  |  |  |  |
| Remarks: |  |  |  |  |  |  |
| Microbiological Response: |  |  |  |  |  |  |  |  |  |  |  |  |
| Organism | Inoculum CFU |  | Recov. rate % | Result |
| S. aureus ATCC 25923 | 100-1000 |  | 100 | Growth |
| Escherichia coli ATCC 25922 | 100-1000 |  | 100 | Growth |

This product has been tested by Quality Control Laboratory and conforms to the specification contained in the relevant catalogue or to the specification agreed with the customer.

Date: 13 September 2016